## Question Output
Question area | Question | Answer | Evidence title | Evidence URL | Evidence notes | Score (0-10) | Answer Category Statement
Access to behind-the-meter technology | Do retail banks and/or government agencies offer no- or low-interest home energy efficiency loans or rebates for behind-the-meter technology or other energy efficiency investments? | National residential PV subsidies (FiT) were fully phased out in 2021–2022. Green credit lines and fiscal discount interest support PV-related investment, and the "Whole County PV" model mobilises developer/lease financing, but there is no universal national low-interest consumer loan or rebate programme for household BTM technology. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Confirms FiT phase-out and availability of fiscal discount interest/green finance for PV industry projects; no evidence of a universal retail consumer low-cost finance scheme. | 5 | Some low cost finance available but not yet universally acessible
Access to behind-the-meter technology | Is behind-the-meter technology affordable and accessible across society? | Hardware costs are the lowest globally thanks to domestic manufacturing. Rural and lower-income households can access systems at zero capital cost through roof-leasing/developer models under the Whole County PV programme. However, red-zone connection suspensions in 11 provinces (2024) block access regardless of income. | IEA Integrating Distributed Energy Resources in China | IEA DER China | IEA reports 2024 connection restrictions in 11 provinces where DPV injection exceeded hosting capacity — a geographic, not income-based, restriction. Zero-capital developer/leasing models widely documented. | 7 | Behind-the-meter technology affordable and accessible to all earners inc. through zero capital cost models
Access to behind-the-meter technology | Is finance available at rates that can scale behind-the-meter technology? | Developer-side and green-loan finance is available at rates at or below ~5% (LPR-linked green credit plus fiscal interest discounts for PV projects), enabling the massive distributed build-out (118 GW distributed in 2024). Consumer-rate finance for households is scarcer, but scale finance demonstrably exists. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Fiscal discount interest policy explicitly reduces financing costs for PV-related industry; 2024 distributed additions of ~118 GW indicate scalable finance at developer level. | 6 | Cost of finance for behind-the-meter technology available at or below 5%
Access to behind-the-meter technology | Are there statewide best practices for calculating and communicating the benefits of behind-the-meter technology to customers, including self-consumption, generation and market value? | No single national standard exists for consumer-facing benefit calculation/communication. The Whole County model standardised contracts and access, but benefit communication varies by province and developer; post-2025 market pricing (noon off-peak windows) has made legacy benefit projections misleading for new customers. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | The NSR describes standardised filing and technical standards but no nationally mandated methodology for communicating investment returns; Document 136 reforms materially changed PV export value, outdating older consumer guidance. Score refined downward from my Stage 2 summary based on this review. | 4 | No universal best practices or standards in place
Access to behind-the-meter technology | Can network and system operators own and operate behind-the-meter technology, within a free market alongside other possible owners? | Grid companies are legally barred from owning competitive generation assets following the 2015 power sector reform, but they can procure services from and contract with aggregated BTM resources. The "one county, one developer" model further concentrates ownership outside networks/operators. | Guide to Chinese Climate Policy – Power Sector Reform (Oxford Institute for Energy Studies) | Oxford Energy – Power Sector Reform | 2015 reform separated grid operation from generation ownership; grid companies act as monopoly network operators and buyers, not asset owners. Some provincial pilots allow grid-affiliated aggregation, hence "some barriers". | 5 | Network operators face some barriers to operating / incentivising / contracting with or owning behind-the-meter technology
Wholesale and Ancillary Electricity Markets | For electricity import/consumption, is there an open, transparent marketplace with time-of-day pricing for all customers? | Mandatory TOU pricing applies to essentially all C&I customers (universally in the market since 2022), and market-based TOU retail pricing is accelerating. Residential customers in many provinces have TOU options, but universal residential spot-linked pricing is not yet complete. | RMI 2026 China Power Market Outlook | RMI | RMI identifies strengthening wholesale-retail price pass-through and accelerating retail-side market-based TOU pricing as ongoing 2026 trends; Document No. 165622 (effective March 2026) phases out regulated TOU for market participants, while grid-delegated buyers retain regulated TOU — hence "almost all" rather than all. | 7 | Time of use pricing for electricity import available to some customers
Wholesale and Ancillary Electricity Markets | For electricity export, is there an open, transparent marketplace with time-of-day pricing for all customers? | Since the Feb 2025 NDRC/NEA reform (Document 136), exported power from distributed solar is settled at market-based or mechanism prices with TOU differentiation, and midday off-peak pricing is cutting export values. Many existing household systems retain legacy arrangements, and participation rules vary by province. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | NSR documents the Feb 9, 2025 Notice on market-based reform of new energy feed-in tariffs; over 50% of new energy generation now integrated through market mechanisms. Storage-friendly pricing (PV + Storage configurations) is growing. Availability to all customers, including household solar and storage exporters, is not yet uniform. | 5 | Export pricing available but restricted to only one form of behind-the-meter technology or not available to all customers
Wholesale and Ancillary Electricity Markets | Do electricity bills break down all the charges that add up to the net payment? | National policy requires itemised bills showing energy/purchase costs, transmission & distribution tariffs, system operation fees, government funds & surcharges, and taxes. Depth of breakdown is strongest for market participants; some residential bills remain simplified. | Guide to Chinese Climate Policy – Power Sector Reform (Oxford Institute for Energy Studies) | Oxford Energy – Power Sector Reform | T&D tariff reform established cost-plus reasonable-profit itemised network charges; electricity bills across provinces list energy, network, system operation, fund and tax components. | 8 | Bills broken down to show all of the following: wholesale/energy costs / network costs / system operation and taxes (where these are applicable)
Wholesale and Ancillary Electricity Markets | Is half-hourly (or better) meter data available to support accurate design of behind-the-meter technology? | Smart meter penetration is near-universal, with data available electronically (via utility apps/portals) at 15-minute resolution in spot-market pilot provinces and half-hourly or better for settled market customers. | Sino-German Cooperation on Climate Change – Power Market Reform | Sino-German Cooperation | Settlement is shifting to monthly pricing or near-real-time settlement intervals of 15 minutes in pilots, implying sub-half-hourly metering infrastructure at scale. | 8 | Data is available in an electronic fomat online
Wholesale and Ancillary Electricity Markets | Are there barriers to behind-the-meter technology participating in energy and ancillary markets based on asset size or technology? | Yes. Minimum aggregation/capacity thresholds commonly apply for ancillary market entry (multi-MW scale), and new distributed PV rules restrict large C&I projects above 6 MW to full self-consumption with no grid sales, while small distributed systems are often exempted or channelled through aggregation. | Rystad Energy – Rooftop solar hits record 36 GW in 1Q25 | Rystad Energy | Documents that full grid access was cancelled for C&I projects, with standard projects up to 6 MW able to partially export and projects above 6 MW required to fully self-consume. Individual small BTM assets generally cannot enter wholesale/ancillary markets directly. | 5 | Behind-the-meter technology have size barriers 50% or more of the wholesale and ancillary markets which are open to behind-the-meter technology
Wholesale and Ancillary Electricity Markets | Is ancillary and wholesale market pricing publicly available? | Spot and ancillary market outcomes are published by provincial trading centres (typically next-day for spot prices), and ancillary service compensation rules are public documents. Pricing is transparent but not universally available in real time. | Frontiers in Energy Research – Ancillary service market in China review | Frontiers | Details evolution from planned compensation to market-oriented ancillary mechanisms with published rules; provincial trading centres publish spot clearing results. Real-time publication for all products is not yet universal. | 7 | All ancillary and wholesale markets pricing is fully transparent
Wholesale and Ancillary Electricity Markets | Can behind-the-meter technology or customers participate in wholesale and ancillary markets individually or through Virtual Power Plants? | The 2024 Basic Rules for Power Market Operation give virtual power plants, energy storage, load aggregators and V2G operators legal market-participant status, with active provincial VPP pilots (Guangdong, Zhejiang, Shenzhen). Actual access remains provincial-pilot dependent and aggregated rather than individual; rural distributed PV is excluded in some provincial markets (e.g. western Inner Mongolia, Gansu exceptions). | RMI 2024 China Power Market Outlook | RMI | Confirms storage and VPPs have made progress in spot-market participation and that western Inner Mongolia and Gansu exclude distributed PV from certain market participation. VPP market still in early scale-up. | 6 | VPPs have access to no more than 50% of wholesale or ancillary markets which are open to behind-the-meter technology
Wholesale and Ancillary Electricity Markets | Are there market signals for behind-the-meter technology and customers to contribute to network reinforcement and capacity - for example, providing grid and network infrastructure investment deferral? | Locational signals exist via spot pricing and hosting-capacity zoning, and pilots exist for distributed resources deferring network reinforcement, but routine, business-as-usual compensation for deferral is not yet established nationally. | IEA Integrating Distributed Energy Resources in China | IEA DER China | IEA recommends expanding viable DER business models (including VPP flexibility) precisely because routine compensation mechanisms are not yet in place; congestion management is currently handled largely through connection restrictions rather than DER payments. | 5 | Compensation available to all behind-the-meter technology that meet required technical standards but only under trials
Wholesale and Ancillary Electricity Markets | Is there compensation available for voltage regulation, voltage stability and voltage imbalance services? | Ancillary service markets compensate reactive power/voltage support primarily from large generators. Distributed/BTM assets providing voltage services are not routinely compensated; BTM participation remains largely at pilot/technical discussion stage. | Frontiers in Energy Research – Ancillary service market in China review | Frontiers | Review notes single-variety market structures and lagging price-signal transmission; distributed resource participation in voltage-type services is marginal relative to thermal-dominated provision. | 3 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | Is there compensation available for frequency regulation, keeping and reserves, including spinning/non-spinning reserve? | Frequency regulation and reserve markets operate in multiple provinces, with independent energy storage stations included since 2022 (Shandong first). Compensation is largely limited to utility-scale and independent storage; aggregated BTM storage participation is emerging but not open to all customers. | Shang et al. 2025, Energy Conversion and Economics – Allocation of ancillary service costs in China | Wiley ECE | Provinces have progressively expanded participants to include renewables, consumers and storage, but BTM household assets qualify rarely and typically only via aggregators meeting minimum size thresholds. | 4 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available for peak demand reduction, including demand charge reduction? | Peak-shaving is a compensated ancillary service in most provincial markets (with price caps, e.g. 450 CNY/MWh in one cited province), and demand charges/TOU differentials penalise peaks. Residential/BTM participation is via DR programmes and aggregators, not universally open. | Frontiers in Energy Research – Ancillary service market in China review | Frontiers | Documents peak-shaving markets with published price caps and expanding participant scope; C&I demand response compensation is substantial in mature provinces (Guangdong, Jiangsu, Shanghai) per market analyses. | 5 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available for reducing demand or increasing generation during periods of high wholesale pricing - that is, responding to tight supply conditions? | Spot price spikes now provide direct arbitrage signals for market participants, and emergency/price-responsive demand response is compensated in mature provinces. Household BTM systems cannot generally monetise this directly. | IndexBox – China Demand Response Platforms Market | IndexBox | Describes substantial peak-shaving/frequency-regulation payments in provinces with mature spot and ancillary markets versus grid-mandated reliability programmes elsewhere — compensation exists but is regionally uneven. | 5 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available for black start services? | Black start is procured through planned, administratively designated arrangements with conventional plants; no open market accessible to BTM technology exists. | Frontiers in Energy Research – Ancillary service market in China review | Frontiers | Review identifies black start among frontier ancillary varieties that remain at the stage of technical feasibility discussion and mechanism conception, lacking mature market design in China. | 2 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | Is there compensation available for demand increase services? | Valley/off-peak TOU pricing implicitly rewards demand increase, but explicit compensated demand-increase service markets for BTM assets are not established. | RMI 2026 China Power Market Outlook | RMI | Market reforms emphasise capturing flexibility value (energy, flexibility, capacity, environmental attributes) as a forward-looking goal rather than an existing national demand-increase product; no explicit BTM-accessible market identified in sources. | 2 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | Is there compensation available for demand response (downturn)? | Market-based and ordered demand response programmes compensate load reduction in many provinces (driven by summer peaks), largely for C&I loads aggregated by DR platforms/VPPs; residential participation is limited. | Emerging demand-side flexible resources (iScience) | iScience | Documents load aggregators/VPP operators providing peak-shaving and load-shifting DR across provinces with applicable capacity targets of ~5% of provincial maximum load per stage. | 5 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available for carbon-related services? | The Green Electricity Certificate (GEC) market now covers all renewables including distributed projects (with DPV market participation via aggregation expanding from 2025), and the national ETS covers the power sector. However, GEC prices have collapsed with oversupply, and household BTM systems generally access value only indirectly. | Norton Rose Fulbright – China's GEC regime | NRF | GECs are now China's sole renewable attribute certificate with expanded scope; 4.73 billion issued in 2024 with 446 million traded (see also REDEX). RMI notes green premiums have declined amid supply surge. Direct BTM monetisation remains uneven. | 5 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available in any other non-wholesale market that is open to other generators? | Green power trading (bundled energy + certificates) is open to renewable generators and increasingly to aggregated distributed projects, but core capacity markets and capacity compensation are directed at thermal/utility-scale assets, not BTM. | PMC – Performance and challenges of power sector reform in China since 2015 | PMC | Capacity compensation (100–165 yuan/kW/year) applies to coal units and expanded nationwide by 2024 — a market from which BTM assets are excluded. | 3 | No compensation available / market does not exist for any assets.
Self-Consumption | Is self-consuming electricity generated from behind-the-meter technology free of charge? | Self-consumed electricity is exempt from network charges, government surcharges and taxes; no fee is payable to any grid, network or system actor for self-consumption. Registration is free for household systems. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | National policy direction explicitly encourages self-consumption as the primary model for distributed PV (reinforced by Document 136 market reforms); no evidence in sources of charges on self-consumed energy. | 9 | No fee is payable
Self-Consumption | Can customers connect behind-the-meter technology for self-consumption without regulatory barriers? | Filing/registration is simple and online, but customers cannot connect freely where hosting capacity is exhausted: in 2024, congestion and connection restrictions were reported in 11 provinces (red zones), suspending new filings. | IEA Integrating Distributed Energy Resources in China | IEA DER China | IEA documents the red/green/yellow hosting-capacity "alarm light" mechanism as a development prerequisite in restricted areas; connection caps in some jurisdictions also restrict C&I systems above 6 MW to full self-consumption. | 5 | Some barriers to connecting and using behind-the-meter technology for self-consumption
Planning and Permitting | Is there a simple online asset registration or standard automated permitting process in place, replacing local permitting requirements? | Registration (filing/备案) is online via utility platforms and has largely replaced discretionary permitting, but it remains a mandatory pre-installation step subject to grid hosting-capacity review, not a pure fit-and-inform regime. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | NSR describes standardised working mechanisms for distributed renewable integration and streamlined grid-connection procedures; filings can nonetheless be postponed where distribution grid hosting capacity is exceeded. | 6 | Permitting is required but is simple and online
Planning and Permitting | Do planning rules and building codes avoid unnecessarily restricting the installation of behind-the-meter technology, while still enabling net zero? | Rooftop solar is broadly a permitted activity in most zones, with the Whole County programme mandating installation percentages on public buildings. Restrictions apply mainly to specific protected/historic zones, aviation zones, and via size thresholds. | ECECP – China Rural Energy Transition | ECECP | Documents the Whole County PV targets (50% of party/government buildings, 40% public, 30% C&I, 20% rural rooftops in participating counties), evidencing permissive planning posture at national level. | 7 | Solar panel installs are permitted activities and building consents only apply to rooftop arrays above certain sizes
Grid Connection | Is there a zero-cost, standardised and transparent automated interconnection/grid connection process for all customers and behind-the-meter technology? | Interconnection is free of charge for household DPV (no connection or system backup fees under national policy) and processed through standardised online channels, but processing is not fully automated and capacity-assessment queues in congested provinces delay connections beyond 15 days in practice. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | NSR confirms streamlined procedures and "green channel" mechanisms, but hosting-capacity gating (Office 〔2023〕74 alarm-light system) and documented postponements mean the process is neither automated nor consistently fast for all applicants. | 6 | Interconnection application is required but is simple and online. Applications are processeed in less than 15 days.
Grid Connection | Is there an open, publicly available map or dataset showing import and export capacity across all networks, so users know what they can connect? | The national grid hosting-capacity assessment mechanism publishes green/yellow/red zones at provincial/county level, giving location-specific capacity indications, but full feeder-level public datasets for customers are not uniformly open; some data is accessible only to or through developers/utilities. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Hosting capacity assessments rolled out nationwide in 2024 with the alarm-light publication mechanism as a development prerequisite; granularity and openness to individual customers vary by province. | 6 | There is a database of network capacity / but it is not open to the public or does not show individual customers
Grid Connection | Is the cost of increasing import and export capacity transparent and publicly available? | T&D tariffs and network charge structures are public and regulated, but customer-specific costs for increasing import/export capacity (upgrades, transformer reinforcement) are not published and are quoted case-by-case. | Guide to Chinese Climate Policy – Power Sector Reform (Oxford Institute for Energy Studies) | Oxford Energy – Power Sector Reform | The T&D pricing regime (cost-plus reasonable profit) is transparent at the tariff level, but no public schedule of connection-point upgrade costs was identified in the sources. | 4 | Data available but is only for import or export or some customers
Grid Connection | Is there simple, digital registration of behind-the-meter technology with utilities? | Yes — national online registration/filing platforms operated by State Grid and China Southern Grid allow digital registration of DPV assets, used nationwide across the Whole County programme. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Standardised, digitally administered registration of distributed PV is a core element of the documented standardisation of county-wide rooftop PV development. | 8 | Digital registration process in place which is at least regionalised
Control, Cybersecurity and Interoperability | Do grid and system operators have the right incentives for technology (such as grid-forming batteries) that operates the power system using behind-the-meter technology, including dispatching the grid with at least 70% of total electrical supply from behind-the-meter sources? | China is building grid-forming storage capability and new-type power system pilots, but BTM generation represents a minority of dispatchable supply; wind and solar combined reached ~22% of generation in 2025 and system dispatch is not structured around 70% BTM sourcing. | Ember – China Energy Trends | Ember | Ember data: 42% of electricity from clean sources in 2025, wind and solar 22%. DPV is ~40% of solar capacity but system dispatch remains centrally managed around conventional and utility-scale resources; 70% BTM dispatch is far from current practice. | 3 | System operator cannot dispatch with more than 20% of total electricity generation from behind the meter tech at any one time
Control, Cybersecurity and Interoperability | For market participation, do system operators set or approve technical and communication protocols for behind-the-meter technology at a national level? | National GB/GB-T standards and NDRC/NEA market rules govern grid connection, dispatch interfaces and market participation, but substantive implementation varies across provincial markets and pilots. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | National technical standards for distributed PV connection and market rules exist; ancillary-services research repeatedly flags large inter-provincial rule differences, with "one game of chess" national unification as a stated goal rather than completed fact. | 6 | Some localised rules and some national/statewide rules
Control, Cybersecurity and Interoperability | For data exchange, do system operators set or approve technical and communication protocols for behind-the-meter technology at a state or national level? | National metering and data-exchange standards (smart meter specifications, dispatch data protocols) are set at national level with near-universal meter deployment, but exchange with third parties (VPP platforms, retailers) follows provincial market rules. | IEA Integrating Distributed Energy Resources in China | IEA DER China | IEA recommends capacity building and best-practice exchange, indicating interoperability/data governance between BTM assets, system operators and aggregators is maturing rather than settled; smart meter data infrastructure itself is national-standardised. | 6 | Some localised rules and some national/statewide rules
Standards | Are there statewide best practices for electrical and mechanical installation? | National mandatory and recommended standards (GB/NB/T series) govern PV system design, installation and grid connection, aligned substantially with IEC international norms, with periodic revision cycles. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | China participates in IEA-PVPS and applies national technical standards for distributed PV; standards undergo scheduled revisions, and grid-connection acceptance enforces electrical standards. | 8 | Best practices and standards in place which are continually (at least annually) reviewed and align to international best practice and standards
Standards | Are there statewide best practices for safety? | National electrical safety codes, fire safety requirements and grid-connection acceptance testing apply nationwide, with enforcement through utility inspection before energisation and occupational safety regulation of installers. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Grid-connection procedures include safety verification; standards are nationally uniform rather than locally fragmented, though enforcement intensity at village level has been flagged in rural deployment literature. | 8 | Best practices and standards in place which are continually (at least annually) reviewed and align to international best practice and standards
Tariffs | How much tariff is charged at the border on imported behind-the-meter technology? | Imports of BTM technology are marginal given China's domestic manufacturing dominance; applied duty rates on solar components are low (modules at or near zero MFN), placing effective tariff levels well below 10%. | VoxChina – Ray of hope? China and the rise of solar energy | VoxChina | Documents China's overwhelming domestic manufacturing dominance in solar PV, making imports a residual flow; no evidence in sources of border tariffs ≥10% on solar modules or residential storage equipment. I'm not aware of any source documenting a specific BTM-technology-specific tariff schedule, hence the residual score. | 8 | Tariffs on imported behind-the-meter technology <10%
Tariffs | Are tax rebates or subsidies available to customers for behind-the-meter technology or other energy efficiency investments? | Direct national subsidies for household PV ended with the FiT phase-out. Remaining supports (VAT relief on PV, GEC income, local subsidies in some provinces, appliance trade-in programme) are modest relative to the auction-priced, capacity-compensated and green-premium supports available to utility-scale projects. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Confirms subsidy phase-outs; Document 136 removed guaranteed pricing for new projects across the board, while capacity compensation (100–165 yuan/kW/year) accrues to thermal/utility assets, not household BTM (per PMC power sector reform study). | 5 | Tax incentives or subsidies are available for behind-the-meter technology but are less than those provided to utility scale technology or other energy technology
Training | Is there a statewide standardised curriculum and qualification for behind-the-meter technology installers and maintainers? | Installer work falls under the national electrician certification system and vocational qualifications, supplemented by industry-body and equipment-supplier training; there is no single dedicated national "PV/storage installer" licence of the kind found in some markets. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Rural deployment literature (e.g. OAE Rural Shandong study) calls for stronger standardised installer qualifications, suggesting current provision is a mix of national electrician credentials plus supplier/industry training rather than one unified certification. | 6 | Some in house Equipment supplier / Industry body qualifications offered for behind-the-meter technology installation and maintenance
Training | Is there access to training courses to achieve recognised behind-the-meter technology installation and maintenance qualifications? | Vocational institutes, manufacturers and utility training centres deliver PV installation training across provinces on a regular basis, supported by the scale of the domestic industry. | IEA-PVPS Task 1 National Survey Report of PV Power Applications in China 2024 | IEA-PVPS NSR China 2024 | Training capacity underpins the world's largest installer workforce; the mass deployment documented (118 GW distributed in 2024) implies broad, regularly available training provision, though quality consistency at county level is discussed in the literature. | 8 | Courses offered throughout country and on a regular basis

## Source Table
Territory | Source ID | Source Name | Source URL | Source Notes
China | SRC-01 | IEA-PVPS Task 1 — National Survey Report of PV Power Applications in China 2024 | Link | Primary source for deployment statistics, FiT phase-out, Document 136 reforms, Whole County PV model, grid-connection standardisation and hosting-capacity ("alarm light") mechanism. Cited on 14 of 39 framework questions.
China | SRC-02 | IEA — Integrating Distributed Energy Resources in China (Analysis) | Link | Key evidence on 2024 connection restrictions in 11 provinces, hosting-capacity congestion, and DER business-model/VPP maturity gaps.
China | SRC-03 | RMI — 2026 China Power Market Outlook: 10 Key Trends | Link | Market reform trajectories: TOU pricing, retail price pass-through, mechanism pricing; basis for import TOU and bill-breakdown scoring.
China | SRC-04 | RMI — 2024 China Power Market Outlook (PDF) | Link | VPP/storage spot-market participation progress; provincial exclusions of distributed PV (western Inner Mongolia, Gansu); Shandong distributed spot pilots.
China | SRC-05 | Sino-German Cooperation on Climate Change — China power market reform | Link | 15-minute settlement pilots and smart metering infrastructure; demand-side market reform framing.
China | SRC-06 | Rystad Energy — China rooftop solar installations hit record 36 GW in 1Q25 | Link | 6 MW self-consumption threshold for C&I projects; cancellation of full grid access; provincial variation in export rules.
China | SRC-07 | Oxford Institute for Energy Studies — Guide to Chinese Climate Policy: Power Sector Reform | Link | T&D cost-plus tariff structure; grid/ownership separation from 2015 reform; bill component transparency.
China | SRC-08 | Frontiers in Energy Research — Ancillary service market in the new power system (2026 review) | Link | Ancillary services market evolution, peak-shaving price caps (450 CNY/MWh), black start/demand-increase as immature frontier services; participant scope expansion.
China | SRC-09 | Shang et al. 2025 — Allocation of ancillary service costs in China, Energy Conversion and Economics (Wiley/IET) | Link | Expansion of ancillary market participants to renewables, consumers and storage; frequency-regulation compensation scope.
China | SRC-10 | iScience — Emerging demand-side flexible resources accelerate China's power system transition | Link | Demand response via load aggregators/VPPs; ~5% provincial maximum load DR capacity targets; peak-shaving and load-shifting programmes.
China | SRC-11 | IndexBox — China Demand Response Platforms Market Analysis | Link | Regional unevenness of DR compensation; maturity differences between Guangdong/Jiangsu/Shanghai and other provinces.
China | SRC-12 | Norton Rose Fulbright — An insight into China's GEC regime and its latest developments | Link | GECs as sole renewable attribute certificate; GEC/CCER coordination; expanded scheme scope to all renewables.
China | SRC-13 | REDEX — Green Electricity Certificates Issuance Reached 4.73 Billion in 2024 | Link | 4.73bn GECs issued and 446m traded in 2024; >98% wind and solar; oversupply context for carbon-related services scoring.
China | SRC-14 | PMC — Performance and challenges of power sector reform in China since 2015 | Link | Capacity compensation (100–165 yuan/kW/year) for coal/utility-scale assets; thermal-peaking transitional arrangements; exclusion of BTM from capacity mechanisms.
China | SRC-15 | Ember — China Energy Trends / Country Profile | Link | Generation mix data: 42% clean electricity in 2025, wind+solar 22%; basis for dispatch-capability scoring.
China | SRC-16 | VoxChina — Ray of hope? China and the rise of solar energy | Link | Domestic manufacturing dominance and cost trajectory; basis for import-tariff and affordability assessment.
China | SRC-17 | OAE — Distributed photovoltaic adoption in rural Shandong: status, challenges, and influential factors | Link | Installer qualification gaps and calls for standardised rural deployment standards; training-system evidence.
China | SRC-18 | New Security Beat — Creating an All-Inclusive Rooftop Solar Ecosystem in China | Link | Used in initial Stage 1/2 assessment (rural inclusivity and Whole County context); superseded by SRC-01/SRC-02 for the refined framework. Retained for audit trail.
China | SRC-19 | Straits Research — Virtual Power Plant Market Report | Link | Used in initial Stage 1/2 assessment only (VPP market sizing ~USD 310m 2025); superseded by SRC-04/SRC-08 for refined framework. Retained for audit trail.
China | SRC-20 | Carbon Brief (guest post) — How China's rural solar policy could also boost heat pumps | Link | Background context on rural solar and electrification synergies; contextual only, no direct framework scoring.