## Question Output
Question area | Question | Answer | Evidence title | Evidence URL | Evidence notes | Score (0-10) | Answer Category Statement
Access to behind-the-meter technology | Do retail banks and/or government agencies offer no- or low-interest home energy efficiency loans or rebates for behind-the-meter technology or other energy efficiency investments? | Yes for rebates, via the state. APVA-administered grants of EUR 255/kW for new rooftop solar up to 10 kW (EUR 191/kW for expansion; EUR 170/kW from 2026), plus a EUR 15.4m solar-plus-storage pilot and separate storage calls at up to EUR 380/kWh (LFP). No dedicated low-interest retail bank loan scheme for BTM identified in sources reviewed - support is grant-based rather than concessional finance. | Solar energy support scheme for households and remote solar parks - IEA Policies Database | https://www.iea.org/policies/31136-solar-energy-support-scheme-for-households-and-remote-solar-parks | IEA records 2025 schemes: EUR 50m for rooftop and remote solar plus EUR 35m retroactive support for systems installed since Feb 2022; EUR 255/kW new and EUR 191/kW expansion, capped at 10 kW per household; one-stage principle (apply after installation, payment within 30 days); single nationwide call; administered by APVA. | 8 | Special loans or rebates available to reduce upfront cost and available to all customers
Access to behind-the-meter technology | Is behind-the-meter technology affordable and accessible across society? | Broadly accessible and growing fast, but not universal. 124,000+ prosumers by end-2024 (~80% households), up ~40% in one year; remote solar park shares lower the entry barrier for apartment dwellers. A rooftop system still requires meaningful upfront capital (~30-45% subsidised) and no zero-capital-cost model was identified. | Gaminančių vartotojų skaičius per 2024 m. išaugo 40 procentų - APVA | https://apva.lrv.lt/lt/naujienos-24316/gaminanciu-vartotoju-skaicius-per-2024-m-isaugo-40-procentu/ | APVA/ESO data: 37,700 new prosumers in 2024 (33,000 household, 4,500 business); ~3,000 connections per month; permitted prosumer solar capacity 1,569.8 MW end-2024 (+50% YoY). Triangulated with circulareconomy.lt report (subsidies 30-45%; remote park options) and IEA-PVPS (1,053 kW per capita, among EU leaders). | 7 | Behind-the-meter technology only affordable and accessible to middle and highest earners
Access to behind-the-meter technology | Is finance available at rates that can scale behind-the-meter technology? | Grant support reduces the financed portion materially, but no evidence of dedicated low-interest finance products (e.g. preferential green loans) for BTM was found; residual capex is financed at standard commercial rates. Deployment is nonetheless scaling rapidly, so finance is not the binding constraint. | Report Fast & Fair Renewable Power Growth in Lithuania - Circular Economy | https://www.circulareconomy.lt/LTpower.pdf | Report documents subsidy intensity history (323 EUR/kW 2018-23; 255 EUR/kW 2024-25; 170 EUR/kW from 2026) and separate calls for households, commercial, communities and remote prosumers, plus storage support since 2024. No concessional-interest lending mechanism identified in any source reviewed - flagged as an evidence gap rather than confirmed absence. | 5 | Some low cost finance available but not yet universally acessible
Access to behind-the-meter technology | "Are there statewide best practices for calculating and communicating the benefits of behind-the-meter technology to customers, including self-consumption, generation and market value?" | Partial. The Lithuanian Energy Agency published 2025 recommendations for apartment-roof solar (<=100 kW) covering technical and legal aspects, requirements, template contracts and balcony solar alternatives; however these are guidance rather than enforced statewide standards for calculating and communicating customer benefits. | Rekomendacijos dėl saulės šviesos energijos elektrinės įrengimo ant daugiabučio namo stogo - Lietuvos energetikos agentūra | https://www.ena.lt/uploads/rekomendacijos-saule/2025/www-Pristatymas-SE-dgb-stogo_2025-12-03.pdf | LEA guidance dated Dec 2025: facilitates apartment-roof solar <=100 kW; sets out simplified requirements and includes roof use/lease contract templates. Triangulated with enmin.lrv.lt consumer communications and ESO prosumer tariff publications; no enforced benefit-communication standard found. | 6 | Best practices and standards in place for consumer protection but not enforced
Access to behind-the-meter technology | Can network and system operators own and operate behind-the-meter technology, within a free market alongside other possible owners? | Constrained for DSOs. Under the EU electricity market framework (unbundling), the DSO (ESO) is restricted from owning generation; BTM assets are instead owned privately and operated within the free market via third-party VPP platforms (Ignitis/emsys, Inion Software, Capalo AI). Separately, an STT corruption-risk analysis of ESO connection services (Oct 2025) recommended greater connection-process transparency. | Virtual Power Plant Enables Balancing Services in Lithuania's Electricity Market - emsys VPP | https://www.emsys-renewables.com/news/2026/2026-10-19_battery-storage-enters-the-balancing-market-to-strengthen-grid-stability.php | emsys/Ignitis VPP manages ~650 MW portfolio; Inion VPP connects 30 assets/160 MW. EU Electricity Directive unbundling restrictions on DSO generation ownership are the basis for the barrier assessment (inference from EU framework rather than a Lithuania-specific statute cited in sources). ESO annual report 2025 confirms STT review and transparency measures underway. | 4 | Network operators face significant barriers to operating, incentivising, contracting with or owning behind-the-meter technology
Wholesale and Ancillary Electricity Markets | For electricity import/consumption, is there an open, transparent marketplace with time-of-day pricing for all customers? | Largely yes. Customers can freely choose independent suppliers offering Nord Pool exchange-linked spot plans enabled by hourly smart-meter data; ESO distribution tariffs include day/night time-zone variants. Vulnerable and guaranteed-supply customers remain on the VERT-set regulated public price (e.g. 19.473 ct/kWh excl. VAT from Jul 2026), which is not time-of-day priced. | Šifruojame sąskaitą už elektrą - Elektrum | https://www.elektrum.lt/lt/namams/naujienos/naujienos/sifruojame-saskaita-uz-elektra-kaip-suprasti-kas-joje-parasyta | Supplier energy component typically >70% of bill; customers may switch suppliers monthly without exit fees; regulated components (transmission, distribution, VIAP) recalculated twice yearly by VERT. Triangulated with ESO tariff pages (day/night zone rates) and 15-min smart-meter data supporting spot plans. | 7 | Time of use pricing for electricity import available to all or almost all customers
Wholesale and Ancillary Electricity Markets | For electricity export, is there an open, transparent marketplace with time-of-day pricing for all customers? | No full time-of-day export pricing for all customers. Residential exports are settled under net metering (kWh-for-kWh over a 2-year window), not market-priced; a net billing option exists with some suppliers (Ignitis since 2024); unused surplus is compensated at a weighted average exchange price (e.g. 5.37 ct/kWh in the Apr 2026 settlement). | Seimas pritarė gaminančių vartotojų elektros apskaitos pakeitimams - Verslo žinios | https://www.vz.lt/energetika/2026/07/07/seimas-pritare-gaminanciu-vartotoju-elektros-apskaitos-pakeitimams-587142 | Jul 2026 Seimas amendments retain net metering, designate it a public-interest service with cost sharing from 2027 (prosumers max 1 ct/kWh exported; other consumers max 0.3 ct/kWh), cap supplier monthly fees at EUR 2, and mandate uniform weighted-average compensation for unused surplus. Triangulated with 15min.lt (ESO compensation rates) and Delfi/Ekonomika.lt settlement reporting. | 6 | Export pricing available but restricted to only one form of behind-the-meter technology or not available to all customers
Wholesale and Ancillary Electricity Markets | Do electricity bills break down all the charges that add up to the net payment? | Yes. Bills itemise the supplier energy price plus regulated components: Litgrid transmission and system services, ESO distribution (voltage-dependent), Baltpool VIAP, and VAT. Suppliers present these as separate line items; VERT resets regulated components twice yearly. | Elektros kainos sudedamosios dalys - ESO | https://www.eso.lt/verslui/elektra/tarifai-kainos-atsiskaitymai-ir-skolos/elektros-kainos-sudedamosios-dalys/3846 | ESO publishes the full component structure (Litgrid transmission 330-110 kV; Litgrid system services; ESO MV/LV distribution; Baltpool VIAP). Triangulated with Elektrum/Enefit bill-explainer content and ACER 2022 data: LT household bill = 54% energy/supply, 28% network, 17% VAT, 1% taxes/levies. | 9 | Bills broken down to show all of the following: wholesale/energy costs, network costs, system operation and taxes (where these are applicable)
Wholesale and Ancillary Electricity Markets | Is half-hourly (or better) meter data available to support accurate design of behind-the-meter technology? | Yes - among Europe's best. Smart meters record consumption and generation at 15-minute intervals; data visible to customers next day via ESO self-service (15-min/hour/day/month views) and available to consented third parties via the DataHub API. | Išmanieji skaitikliai: Lietuva – tarp Europos lyderių pagal technologijas ir duomenų prieinamumą - ESO | https://www.eso.lt/naujienos/ismanieji-skaitikliai-lietuva-tarp-europos-lyderiu-pagal-technologijas-ir-duomenu-prieinamuma/4628 | 812,000 smart meters installed by Mar 2024; ~1.3m expected by end-2025 (58% of domestic and 70% of business customers covered at that point); phase 1 covering ~90% of distributed volume (CEER national market report). Third-party access service documented at datahub.eso.lt. | 9 | Data is available in an electronic fomat online
Wholesale and Ancillary Electricity Markets | Are there barriers to behind-the-meter technology participating in energy and ancillary markets based on asset size or technology? | Yes - material size barriers remain. Balancing market participation is practical via aggregators/VPPs from around 100 kW installed capacity; individual household systems cannot participate directly. All TSO-connected wind and solar have technical capability, but that is front-of-meter scale. | Energijos telkimas (VPP) – Energy Balancing | https://energybalancing.lt/en/energijos-telkimas-vpp/ | Lithuanian aggregator states market participation possible from 100 kW installed capacity via VPP portfolios. Triangulated with CE Energy News (Meiluškės 34 MW solar park first solar in balancing market, mFRR, Jul 2025; Litgrid: all TSO-connected wind/solar technically capable; 21 balancing participants). Small BTM (<100 kW) remains excluded without aggregation. | 5 | Behind-the-meter technology have size barriers 50% or more of the wholesale and ancillary markets which are open to behind-the-meter technology
Wholesale and Ancillary Electricity Markets | Is ancillary and wholesale market pricing publicly available? | Largely yes. Day-ahead and intraday prices are publicly available via Nord Pool; Litgrid publishes balancing market results for its products and participants. Full real-time publication of every ancillary product price could not be explicitly confirmed in the sources reviewed. | First solar park joined the electricity balancing market in Lithuania - CE Energy News | https://ceenergynews.com/renewables/first-solar-park-electricity-balancing-lithuania/ | Litgrid balancing market with 21 contracted participants as of Jul 2025; solar park completed pre-qualification tests for mFRR. Wholesale pricing transparent via Nord Pool and ENTSO-E transparency channels following Baltic synchronisation with Continental Europe (Feb 2025). | 8 | All ancillary and wholesale markets pricing is fully transparent, and pricing is available in real time
Wholesale and Ancillary Electricity Markets | Can behind-the-meter technology or customers participate in wholesale and ancillary markets individually or through Virtual Power Plants? | Yes - VPPs are operational and expanding. Ignitis/emsys VPP (~650 MW portfolio, extending to aFRR/mFRR balancing), Inion Software VPP (30 assets, 160 MW, handling mFRR/aFRR/FCR and day-ahead/intraday) and Capalo Zeus VPP (utility and commercial batteries) all actively trade. Household-scale BTM participates only indirectly via aggregation. | Inion Software launches virtual power plant platform for solar and battery assets - Inion LT | https://inionsoftware.com/blog/inion-software-launches-virtual-power-plant-platform-for-solar-and-battery-assets/ | Inion platform operational in Lithuania's balancing market, covering mFRR, aFRR, FCR, day-ahead and intraday; white-label rollout planned. Triangulated with emsys/Ignitis (batteries already traded on intraday; balancing extension Oct 2026) and Capalo AI case studies (Butrimonys 1 MW/2 MWh; Trakai 65 MW/130 MWh). | 8 | VPPs have access to more than 50% of wholesale or ancillary markets which are open to behind-the-meter technology
Wholesale and Ancillary Electricity Markets | "Are there market signals for behind-the-meter technology and customers to contribute to network reinforcement and capacity - for example, providing grid and network infrastructure investment deferral?" | Emerging, trial-based only. A EUR 15.4m pilot funds 5 kW solar + 10 kWh storage systems with grid export capped at 1 kW, specifically targeting households facing ESO grid restrictions - a deferral signal delivered via subsidy rather than standing compensation. Favourable network charges for battery storage were announced as planned (Sep 2026) but are not yet business as usual. | Gyventojams, įsirengiantiems saulės elektrines kartu su kaupikliais nekeičiant ankstesnių sąlygų – papildomi 10 mln. eurų - Energetikos ministerija | https://enmin.lrv.lt/lt/naujienos/gyventojams-isirengiantiems-saules-elektrines-kartu-su-kaupikliais-nekeiciant-ankstesniu-salygu-papildomi-10-mln-euru-f0Bn/ | Pilot call (started 2025, extended to Jun 2026; EUR 15.4m total): >=5 kW solar and >=10 kWh storage with <=1 kW export allowed; 5 kW connections processed under simplified ESO typical conditions without a separate application; ~2,000 households, 8 MW solar and 16 MWh storage funded by early 2026. Triangulated with ESS News (Sep 2026: planned favourable network charges for storage). | 5 | Compensation available to all behind-the-meter technology that meet required technical standards but only under trials
Wholesale and Ancillary Electricity Markets | "Is there compensation available for voltage regulation, voltage stability and voltage imbalance services?" | No. No voltage regulation, stability or imbalance compensation market open to BTM assets was identified. Existing balancing products (FCR/aFRR/mFRR) are frequency services. The IEA explicitly recommends clearer price signals for flexibility and grid services, indicating their current absence. | Executive summary - Lithuania 2025 - IEA | https://www.iea.org/reports/lithuania-2025/executive-summary | IEA 2025 Energy Policy Review: net metering has driven solar growth but reduced incentives for providing flexibility and grid services; recommends reform toward a grid-friendly approach and dynamic grid tariffs. No voltage-service product found in Ministry, ESO, Litgrid or IEA sources reviewed. | 3 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | "Is there compensation available for frequency regulation, keeping and reserves, including spinning/non-spinning reserve?" | Yes, functioning markets. FCR, aFRR and mFRR are operational with battery and solar participation (e.g. E energija 65 MW/130 MWh Trakai BESS providing FCR/mFRR/aFRR from Feb 2026; Green Genius/Capalo 1 MW/2 MWh Butrimonys in mFRR/aFRR; first solar park in mFRR Jul 2025). Access requires Litgrid prequalification and, for small assets, aggregation - so not available directly to all customers. | Lithuania's Largest Battery Storage Project Joins the Balancing Market - Voice of Renewables | https://voiceofrenewables.com/lithuanias-largest-battery-storage-project-joins-the-balancing-market/ | E energija BESS (Trakai district) completed readiness certification for FCR, mFRR and aFRR (Feb 2026); Butrimonys was the first commercial storage facility in the Lithuanian balancing market (Green Genius/Capalo AI). Litgrid has 21 balancing participants; solar and batteries demonstrably earning balancing revenue. | 7 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | "Is there compensation available for peak demand reduction, including demand charge reduction?" | Partial and indirect. ESO network tariffs include a power (capacity) component of EUR 3.00/kW/month, but this applies only to users with permitted capacity above 30 kW; household tariffs are predominantly energy-based, so demand-charge reduction benefits larger consumers, not residential BTM. No dedicated BTM peak-shaving compensation product was identified. | Vidutinės įtampos elektros tinklų - ESO | https://www.eso.lt/vidutines-itampos-elektros-tinklu | ESO regulated network tariffs for Group 2/3 users: power component 3.00 EUR/kW/month for >=30 kW users; one- and two-time-zone energy components published (e.g. 0.0139-0.0142 EUR/kWh daytime). Triangulated with VERT tariff resolutions and IEA recommendation for dynamic grid tariffs (indicating absence of dedicated peak-demand products for BTM). | 5 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | "Is there compensation available for reducing demand or increasing generation during periods of high wholesale pricing - that is, responding to tight supply conditions?" | Partial. Wholesale price-responsive behaviour is rewarded via day-ahead/intraday trading and balancing market participation for prequalified or aggregated assets (e.g. Raseiniai 56 MW/168 MWh BESS to trade day-ahead, intraday and balancing; VPPs curtail at negative prices). Household prosumers under net metering are largely passive to price signals. | Raseiniai battery secures Capalo optimisation agreement - IN Power | https://electricalnews.co.uk/raseiniai-battery-secures-capalo-optimisation-agreement/ | Future Energy Raseiniai battery (completion end-2026, commercial operation Q1 2027) will be optimised across day-ahead, intraday and balancing markets via the Capalo Zeus VPP platform. Triangulated with Inion VPP (negative-price curtailment automation) and IEA criticism of net metering muting scarcity response for households. | 6 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available for black start services? | No. No black start compensation for BTM assets was identified; black start procurement remains oriented to large conventional units. The IEA review addresses system adequacy and reserves but identifies no BTM-open black start market. | Lithuania 2025 - Energy Policy Review - IEA | https://iea.blob.core.windows.net/assets/0f37fbed-856d-4fde-8f2b-4db10d9bfd2a/Lithuania2025.pdf | Full IEA 2025 review examines reserves, adequacy and system security post-synchronisation; no BTM black start product appears in Ministry, Litgrid, ESO or IEA sources reviewed. | 2 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | Is there compensation available for demand increase services? | No. No demand-increase service market (rewarding load growth during surplus/low-price conditions) open to BTM was identified in any source reviewed. | Executive summary - Lithuania 2025 - IEA | https://www.iea.org/reports/lithuania-2025/executive-summary | No evidence of a demand-increase compensation product in Ministry, ESO, Litgrid, aggregator or IEA sources. Balancing products focus on frequency regulation and generation flexibility. | 2 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | Is there compensation available for demand response (downturn)? | Yes via aggregation. mFRR down-regulation is accessible to flexible assets including aggregated batteries and solar (first solar park joined mFRR by reducing generation, Jul 2025; VPP prequalification through Litgrid required). Household-scale BTM cannot participate directly. | Virtual Power Plant Enables Balancing Services in Lithuania's Electricity Market - emsys VPP | https://www.emsys-renewables.com/news/2026/2026-10-19_battery-storage-enters-the-balancing-market-to-strengthen-grid-stability.php | Meiluškės solar park (34 MW) provides mFRR by reducing generation (Jul 2025), demonstrating downward-regulation capability; Ignitis/emsys VPP adds aFRR/mFRR bidding for flexible assets; Inion handles all balancing markets simultaneously. Access requires technical connection, prequalification and link to Litgrid control systems. | 6 | Compensation available but not to all customers
Wholesale and Ancillary Electricity Markets | Is there compensation available for carbon-related services? | No. Carbon pricing operates via the EU ETS for large emitters; no distributed-resource carbon credit, attribute or compensation scheme open to BTM was identified in the sources reviewed. | Executive summary - Lithuania 2025 - IEA | https://www.iea.org/reports/lithuania-2025/executive-summary | IEA review frames decarbonisation through ETS, taxes and RES targets; no BTM carbon-service product found in Ministry, ESO, Litgrid or market-participant sources. | 3 | No compensation available / market does not exist for any assets.
Wholesale and Ancillary Electricity Markets | Is there compensation available in any other non-wholesale market that is open to other generators? | No. No capacity market or other non-wholesale compensation mechanism open to BTM was identified. The VIAP levy funds public-interest services but is a funding mechanism, not BTM compensation; state aid for storage (EUR 180m scheme) consists of capital grants rather than market revenue. | Annual report on the electricity and natural gas markets of the Republic of Lithuania to the European Commission - CEER | https://www.ceer.eu/wp-content/uploads/2024/10/C24_Lithuania-EN.pdf | CEER national market report details regulated components, tariff methodology and transmission price-cap changes; no capacity remuneration mechanism or other generator-open non-wholesale market identified. Triangulated with Ministry announcements of the EUR 180m storage state-aid scheme (grants for >=15 MWh projects). | 3 | No compensation available / market does not exist for any assets.
Self-Consumption | Is self-consuming electricity generated from behind-the-meter technology free of charge? | Yes. Electricity self-consumed on-site carries no network, supplier or system charge; fees apply only to grid-related services (e.g. the net-metering network usage fee of 6.7 ct/kWh incl. VAT applies to energy stored in and returned from the grid, not to direct self-consumption). | Dvipusė apskaita (net metering) - Ignitis | https://ignitis.lt/dvipuse-apskaita-net-metering | Surplus fed to the grid is "stored" for up to two years (1 Apr - 31 Mar windows) and returned subject to the ESO network usage fee set annually by VERT; unused surplus compensated at weighted average exchange prices every two years. Self-consumed kWh bypass all charges. Triangulated with VERT prosumer tariff resolution O3E. | 9 | No fee is payable
Self-Consumption | Can customers connect behind-the-meter technology for self-consumption without regulatory barriers? | Yes, effectively barrier-free for self-consumption. Systems <=100 kW are exempt from environmental impact assessment, generation capacity development permits, generation permits and modernisation permits; 2025 amendments (Law XV-330 and EIA changes) further accelerate renewables permitting. Grid technical conditions are still required for export. | Rekomendacijos dėl saulės šviesos energijos elektrinės įrengimo ant daugiabučio namo stogo - Lietuvos energetikos agentūra | https://www.ena.lt/uploads/rekomendacijos-saule/2025/www-Pristatymas-SE-dgb-stogo_2025-12-03.pdf | LEA simplified requirements list for <=100 kW: no EIA screening, no capacity development permit, no generation permit, no modernisation permit; construction permit requirements relaxed for standard installs. Triangulated with Ministry of Environment (Jun 2025 Seimas amendments transposing RED III, accelerated development zones) and VERT permit-rule simplification (Aug 2025). | 9 | No barriers to connecting and using behind-the-meter technology for self-consumption
Planning and Permitting | "Is there a simple online asset registration or standard automated permitting process in place, replacing local permitting requirements?" | Largely. Digital processes run via ESO self-service/DataHub; permitting for small rooftop solar is effectively replaced by simplified "install and register" flows (pilot 5 kW systems connect under published typical conditions with no separate ESO application). Full end-to-end automation of registration is not yet universal across all cases. | Energetikos ministerija: gaminantiems vartotojams gerinamas ESO techninių sąlygų išdavimas - Energetikos ministerija | https://enmin.lrv.lt/lt/naujienos/energetikos-ministerija-gaminantiems-vartotojams-gerinamas-eso-techniniu-salygu-isdavimas/ | Technical conditions issued by ESO with shortened validity to release frozen capacity; EUR 41.89 fee refunded on completed installations. Pilot call confirms 5 kW connections under publicly posted typical connection conditions without a separate application. Triangulated with LEA guidance (template contracts, simplified requirements) and ESO annual report (procedure amendments from 1 Jul 2025). | 8 | Fit and inform, or no permitting in place
Planning and Permitting | "Do planning rules and building codes avoid unnecessarily restricting the installation of behind-the-meter technology, while still enabling net zero?" | Yes. Rooftop solar is a permitted activity, with exemptions from EIA and permits for <=100 kW; Jun 2025 Seimas amendments transposing RED III introduce accelerated development zones without project-level EIA (subject to strategic environmental assessment conditions). A Sep 2026 measure package further plans to remove obstacles to balcony solar and promote energy communities. | Stiprinama Lietuvos energetinė nepriklausomybė: bus lengviau įrengti vėjo ir saulės elektrines - Aplinkos ministerija | https://am.lrv.lt/lt/naujienos/stiprinama-lietuvos-energetine-nepriklausomybe-bus-lengviau-irengti-vejo-ir-saules-elektrines/ | Environment Ministry (Jun 2025): amendments remove project-level EIA in accelerated development zones subject to SEA-established rules and mitigation; joint with Renewable Energy Law amendments (Law XV-330, in force 14 Jul 2025, as amended Apr 2026). Triangulated with LEA apartment-roof guidance and ESS News (Sep 2026 balcony solar measures). | 8 | Solar panel installs are permitted activities and building consents only apply to rooftop arrays above certain sizes
Grid Connection | "Is there a zero-cost, standardised and transparent automated interconnection/grid connection process for all customers and behind-the-meter technology?" | Not fully zero-cost or fully automated. An application for technical conditions is required (simple and online), with a EUR 41.89 fee that is refunded when the installation is completed (>EUR 265k refunded in 2025). Processing within 15 days could not be explicitly confirmed; the STT review (Oct 2025) recommended transparency improvements in connection services. | AB „Energijos skirstymo operatorius“ annual management report and financial statements 2025 | https://www.eso.lt/storage/public/uploads/2026/03/2.-ab-energijos-skirstymo-operatorius-annual-management-report-and-financial-statements-for-the-year-ended-31-december-2025.pdf | From 1 Jul 2025 amendments to the connection procedure: fee refund on completion; shortened validity of technical conditions to free capacity (35-40% of issued conditions previously went unused). Triangulated with Ministry of Energy announcement (1 Jul 2025) and APVA pilot (simplified typical conditions for 5 kW). Explicit <15-day processing evidence not found - reflected in score. | 6 | Interconnection application is required but is simple and online. Applications are processeed in less than 15 days.
Grid Connection | "Is there an open, publicly available map or dataset showing import and export capacity across all networks, so users know what they can connect?" | No public location-specific capacity map identified. Connection capacity is assessed per application; grid constraints are communicated indirectly (e.g. the pilot explicitly targets households facing ESO grid restrictions). The DataHub provides metering/consumption data, not network capacity. | ESO DataHub | https://datahub.eso.lt/ | DataHub documents metering, balancing-data and third-party access services; no public network capacity map or dataset identified in sources reviewed. IEA-PVPS notes grid connection availability as the primary deployment constraint, implying capacity information is not openly published. | 5 | There is a database of network capacity, but it is not open to the public or does not show individual customers
Grid Connection | Is the cost of increasing import and export capacity transparent and publicly available? | Partially. Standard regulated network tariffs are published by VERT/ESO; however, costs of increasing import/export capacity at a specific connection point are handled case-by-case and are not published per connection point. | Elektra - VERT | https://www.vert.lt/elektra/Puslapiai/tarifai/elektros-energijos-kainos.aspx | VERT publishes regulated electricity prices and network tariff structures (recalculated twice yearly); no per-location capacity-upgrade price schedule found in sources reviewed. Triangulated with ESO tariff pages and ACER network tariff methodology annex for Lithuania. | 5 | Data available but is only for import or export or some customers
Grid Connection | "Is there simple, digital registration of behind-the-meter technology with utilities?" | Yes. Digital registration of prosumer installations with the national DSO (ESO) via self-service and the DataHub platform, with consent-based third-party API access to interval and monthly data. | Trečiųjų šalių prieigos paslauga - ESO | https://www.eso.lt/verslui/elektra/kitos-paslaugos/treciuju-saliu-prieigos-paslauga/3979 | Third-party access service via datahub.eso.lt self-service and API: object data, monthly summaries (36 months) and hourly/15-min interval consumption and generation data, available for the previous day. Triangulated with ESO smart-meter reporting and DataHub documentation v3.4. | 9 | Digital registration process in place which is at least regionalised
"Control, Cybersecurity and Interoperability" | "Do grid and system operators have the right incentives for technology (such as grid-forming batteries) that operates the power system using behind-the-meter technology, including dispatching the grid with at least 70% of total electrical supply from behind-the-meter sources?" | Not yet demonstrable. Renewables covered 68.1% of domestic electricity demand in 2025 and the system synchronised with Continental Europe in Feb 2025; VPP-dispatched batteries and solar provide balancing services. However, no evidence was found that the system operator can dispatch more than 50% of total generation specifically from behind-the-meter sources at any one time, and grid-forming battery incentives are still under development (EUR 180m state-aid scheme). | Lithuania's 2025 statistics - INIKTI | https://www.inikti.com/news-list/lithuania-s-2025-statistics/ | Solar+wind met 46.6% of demand in 2025 (up from 38.5% in 2024); wind 32.6%, solar 14%; total installed renewables ~5.9 GW. BTM-only dispatchable share is not quantified in any source. Triangulated with IEA-PVPS (technical permits for 4 GW further solar; grid connection the primary constraint) and emsys/Ignitis balancing extensions. Category assignment reflects absence of evidence for >50% BTM dispatch; flagged for verification with Litgrid. | 4 | System operator cannot dispatch with more than 50% of total electricity generation from behind the meter tech at any one time
"Control, Cybersecurity and Interoperability" | "For market participation, do system operators set or approve technical and communication protocols for behind-the-meter technology at a national level?" | Yes. Litgrid sets national prequalification and communication requirements for balancing market participation (aFRR/mFRR/FCR), harmonised with Continental European (ENTSO-E) rules since the Feb 2025 synchronisation. | Ignitis and emsys VPP extend virtual power plant to balancing energy in Lithuania - Baltic Wind | https://balticwind.eu/ignitis-and-emsys-vpp-extend-virtual-power-plant-to-balancing-energy-in-lithuania/ | Assets must be technically connected, prequalified and linked to Litgrid's control system to participate; initial focus aFRR/mFRR, extensible to wind and solar. Triangulated with CE Energy News (Litgrid prequalification tests for the first solar park) and Capalo AI BSP onboarding documentation. | 8 | National and universally adopted rules which also confirm to international norms
"Control, Cybersecurity and Interoperability" | "For data exchange, do system operators set or approve technical and communication protocols for behind-the-meter technology at a state or national level?" | Yes. A national DataHub (datahub.eso.lt) operated by the DSO provides documented, standardised API interfaces for suppliers and consented third parties, with harmonised 15-minute interval data conventions. | Instructions for Connecting and Using DataHub v3.4 | https://datahub.eso.lt/sites/default/files/2023-04/Instructions%20for%20Connecting%20and%20Using%20DataHub%20v3.4.pdf | Central national data-exchange platform with published documentation for market participants (meter readings, historical hourly consumption, declarations); sandbox API documentation for independent suppliers (v2.0.4, 2026). Triangulated with ESO third-party access service and smart-meter data standards. | 8 | National and universally adopted rules which also confirm to international norms
Standards | Are there statewide best practices for electrical and mechanical installation? | Effectively yes, via the EU framework. EU harmonised standards (LST EN / CENELEC / IEC) apply nationally as statutory requirements for PV and BESS installation; national guidance (LEA) supplements these with installation recommendations and requirements. Continual national review cycles could not be explicitly evidenced - review occurs at European standards level. | Rekomendacijos dėl saulės šviesos energijos elektrinės įrengimo ant daugiabučio namo stogo - Lietuvos energetikos agentūra | https://www.ena.lt/uploads/rekomendacijos-saule/2025/www-Pristatymas-SE-dgb-stogo_2025-12-03.pdf | LEA guidance sets out technical requirements and legal aspects for rooftop solar; EU-level harmonised standards are transposed as national LST EN standards and are periodically revised by CENELEC/IEC. Annual national review not explicitly evidenced - noted as the basis for not scoring higher. | 8 | Best practices and standards in place which are continually (at least annually) reviewed and align to international best practice and standards
Standards | Are there statewide best practices for safety? | Effectively yes, via the EU framework. Statutory safety requirements apply to equipment placed on the EU market (LVD, EMC, RoHS; CE and WEEE marking) and to installation practice via national electrical installation rules and grid codes. Annual national review cycles could not be explicitly evidenced. | Importing solar battery storages from China to the EU - ExamineChina | https://www.examinechina.com/importing-energy-banks-from-china-to-the-eu | EU-market equipment must comply with LVD, EMC and RoHS directives and bear CE and WEEE marks; national installation safety governed by electrical installation rules and DSO/TSO grid codes. Triangulated with LEA installation guidance; review cadence at European standards level rather than nationally evidenced. | 8 | Best practices and standards in place which are continually (at least annually) reviewed and align to international best practice and standards
Tariffs | How much tariff is charged at the border on imported behind-the-meter technology? | Low. As an EU member, Lithuania applies the EU Common External Tariff: PV modules 0%; inverters 0% (codes 8504408890, 8504409090); lithium-ion storage 2.7% (8507600090); lead-acid storage 3.7% (8507208090); battery parts 2.7%. No intra-EU tariffs. | Importing solar battery storages from China to the EU - ExamineChina | https://www.examinechina.com/importing-energy-banks-from-china-to-the-eu | TARIC-coded duty rates for energy banks, inverters and parts sourced into the EU; duty rates described as low; compliance requirements (LVD, EMC, RoHS, CE, WEEE) apply. VAT (21% in Lithuania) applies in addition but is not a border tariff on the goods category. | 9 | Tariffs on imported behind-the-meter technology <10%
Tariffs | Are tax rebates or subsidies available to customers for behind-the-meter technology or other energy efficiency investments? | Yes, strongly. Substantial state subsidies to BTM: solar EUR 255/kW (EUR 170/kW from 2026), storage EUR 380.08/kWh (LFP, VAT incl., up to 15 kWh per site), integrated 5 kW + 10 kWh packages at EUR 5,012; energy communities up to 45% intensity. Utility-scale solar is largely merchant (no operating subsidy), so BTM support matches or exceeds utility-scale treatment. | Report Fast & Fair Renewable Power Growth in Lithuania - Circular Economy | https://www.circulareconomy.lt/LTpower.pdf | Support history: 323 EUR/kW (2018-23), 255 EUR/kW (2024-25), 170 EUR/kW (from 2026); remote parks 323 -> 200 EUR/kW; dedicated storage calls since 2024 (170 EUR/kWh); solar+storage pilot EUR 5,000 (3,500 from 2026). Triangulated with IEA policy database, APVA and Ministry announcements; offshore wind uses CfDs rather than BTM-style capital grants. | 9 | Any tax incentives or subsidies for behind-the-meter technology match or exceed those provided to utility scale technology or other energy technology
Training | Is there a statewide standardised curriculum and qualification for behind-the-meter technology installers and maintainers? | No verified evidence of a national standardised qualification for BTM installers. Industry and equipment-supplier qualifications operate in the market, supported by rapid installer-base growth, but no national certificate was identified in the sources reviewed. Flagged for primary verification with Lithuanian VET/qualifications authorities before final decision. | Lithuania deploys 870 MW of solar in 2024 - pv magazine | https://www.pv-magazine.com/2025/04/09/lithuania-deploys-870-mw-of-solar-in-2024/ | pv magazine interview with Lithuanian solar industry representatives (Ulbikas, Maciulis) describes installer market dynamics and subsidy access but references no national certification scheme. No source reviewed (Ministry, APVA, LEA, IEA) evidences a national installer qualification. Limited triangulation - recommend verification. | 5 | Some in house Equipment supplier / Industry body qualifications offered for behind-the-meter technology installation and maintenance
Training | Is there access to training courses to achieve recognised behind-the-meter technology installation and maintenance qualifications? | Insufficient triangulated evidence. No reliable primary source on the availability, geographic distribution or frequency of recognised BTM installer training courses was identified in the sources reviewed. Recommend primary verification with Lithuanian VET institutions and sector associations before final categorisation. | No verified primary source identified in sources reviewed |  | No suitable primary source found across Ministry of Energy, APVA, LEA, IEA-PVPS or industry sources reviewed. Recorded as an evidence gap rather than assumed positive or negative, consistent with the requirement for territory-specific, detailed, triangulated evidence. | 3 | Insufficient Data to determine category

## Source Table
Territory | Source ID | Source Name | Source URL | Source Notes
Lithuania | LIT-001 | IEA Solar Energy Support Scheme | https://www.iea.org/policies/31136-solar-energy-support-scheme-for-households-and-remote-solar-parks | Official IEA policy database documenting subsidy programs
Lithuania | LIT-002 | Lithuanian Ministry of Energy | https://enmin.lrv.lt/lt/ | Government official source for policy announcements
Lithuania | LIT-003 | Lietuvos energetikos agentūra (LEA) | https://www.ena.lt/ | National energy agency technical recommendations
Lithuania | LIT-004 | ESO (Energijos skirstymo operatorius) | https://www.eso.lt/ | Distribution system operator data and tariffs
Lithuania | LIT-005 | Litgrid | https://www.litgrid.eu/en/ | Transmission system operator market data
Lithuania | LIT-006 | Valstybinė energetikos reguliavimo taryba (VERT) | https://www.vert.lt/ | Regulatory authority tariff approvals
Lithuania | LIT-007 | Aplinkos projektų valdymo agentūra (APVA) | https://apva.lrv.lt/ | Subsidy program administration
Lithuania | LIT-008 | IEA-PVPS Lithuania Report | https://iea-pvps.org/about-iea-pvps/members/lithuania/ | International solar deployment statistics
Lithuania | LIT-009 | 15min.lt Energy News | https://www.15min.lt/verslas/naujiena/energetika/ | Independent media reporting on energy sector
Lithuania | LIT-010 | PV Magazine Global | https://www.pv-magazine.com/ | International solar industry publication
Lithuania | LIT-011 | CE Energy News | https://ceenergynews.com/ | Central European energy sector news
Lithuania | LIT-012 | EmSys VPP Documentation | https://www.emsys-renewables.com/news/ | VPP platform technical information
Lithuania | LIT-013 | Inion Software | https://inionsoftware.com/ | VPP platform operator
Lithuania | LIT-014 | Capalo AI Case Studies | https://capaloai.com/case-studies/ | Battery optimization platform documentation
Lithuania | LIT-015 | Energy Hub DataHub Platform | https://datahub.eso.lt/ | Smart meter data platform
Lithuania | LIT-016 | EU Customs Tariff Database | https://ec.europa.eu/taxation_customs/ | EU external tariff schedules